**Issue with B- 104 , Dev Apartment**

* **All 2 AC is not working, One AC have no stabilizer**
* **Geyser is not installed**
* **Wash Basin at Dining table location not available**
* **One of nobe at Geyser point is not installed**
* **One light at drawing room is not working**
* **One of switch below regulator in the drawing room is not working**
* **Front light Point at the entry of B-104 is not working, hanging tip top switches is also de-functioning**
* **Balcony light is not working**
* **Washing machine is not working**
* **Water supply at several place is chocking and blockages needs to be take care**
* **Exhaust fan in kitchen is making noises**
* **window curtain is available for one of room**
* **Table lamp Is not working**
* **Two car parking is not available**